## Sheet1
| KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | KRRAW | Influent | Effluent test tanks
| Temp | pH | ORP | Total Solids | SS | BOD5 | NH3 | Org-N | TKN | P-TOT | SO4 | SO3 | VFA | orthoP | SO4-
Date | (F) | (Unit) | (mv) | (mg/l) | (mg/l) | (mg/l) | (mg/l) | (mg/l) | (mg/l) | mg/L | mg/L | mg/L | mg/L-COD | mg/L | mg/L
2019-05-16 |  |  |  | 990 | 144 | 123 | 10.66 | 9 | 19.68 | 3.49 |  |  | 19 |  | 111
2019-05-17 |  |  |  | 1216 | 462 | 206 | 10.85 | 17.9 | 28.72 | 4.49
2019-05-18 |  |  |  | 826 | 79 | 81 | 10.44 | 8.6 | 19 | 2.17
2019-05-19 |  |  |  | 822 | 146 | 113 | 10.75 | 10 | 20.76 | 2.87
2019-05-20 |  |  |  | 894 | 110 | 93 | 12.18 | 9 | 21.15 | 2.36 | 78 |  | 36 |  | 94
2019-05-21 |  |  |  | 986 | 130 | 121 | 13.59 | 11.1 | 24.67 | 2.86
2019-05-22 |  |  |  | 788 | 142 | 111 | 8.59 | 8.5 | 17.12 | 2.98
2019-05-23 |  |  |  | 806 | 60 | 67 | 9.46 | 5.3 | 14.79 | 2.23 |  |  | 5 |  | 69
2019-05-24 |  |  |  | 832 | 114 | 92 | 8.93 | 6.1 | 15.05 | 1.96
2019-05-25 |  |  |  | 896 | 73 | 70 | 8.79 | 5.3 | 14.08 | 1.95
2019-05-26 |  |  |  | 932 | 110 | 92 | 10.77 | 7.1 | 17.88 | 2.22
2019-05-27 |  |  |  | 970 | 168 | 103 | 11.25 | 9.2 | 20.4 | 2.77 | 73
2019-05-28 |  |  |  | 918 | 166 | 138 | 12.1 | 11.1 | 23.24 | 3.86 |  |  | 5 |  | 60
2019-05-29 |  |  |  | 612 | 86 | 54 | 5.33 | 5 | 10.35 | 1.71
2019-05-30 |  |  |  | 658 | 72 | 55 | 6.09 | 4.2 | 10.24 | 1.64 |  |  |  |  | 51
2019-05-31 |  |  |  | 794 | 62 | 68 | 8.81 | 5.9 | 14.72 | 1.78
2019-06-01 |  |  |  | 1136 | 352 | 226 | 8.84 | 30.6 | 39.43 | 9.9
2019-06-02 |  |  |  | 788 | 50 | 47 | 10.15 | 5.9 | 16.02 | 1.65
2019-06-03 |  |  |  | 942 | 124 | 102 | 13.53 | 8.8 | 22.37 | 3.67 | 82 |  |  |  | 82
2019-06-04 |  |  |  | 1020 | 210 | 132 | 11.86 | 12.4 | 24.21 | 3.62
2019-06-05 |  |  |  | 408 | 57 | 40 | 2.85 | 4.1 | 6.99 | 1.16
2019-06-06 |  |  |  | 668 | 35 | 50 | 5.71 | 4 | 9.75 | 1.3 |  |  |  |  | 67
2019-06-07 |  |  |  | 806 | 88 | 76 | 10.41 | 8.3 | 18.72 | 2.21
2019-06-08 |  |  |  | 922 | 200 | 135 | 10.52 | 11.2 | 21.75 | 2.89
2019-06-09 |  |  |  | 800 | 84 | 92 | 11.78 | 8.2 | 19.94 | 2.28
2019-06-10 |  |  |  | 892 | 120 | 93 | 14.03 | 9.7 | 23.69 | 3.16 |  |  |  |  | 104
2019-06-11 |  |  |  | 954 | 140 | 110 | 16.67 | 12.9 | 29.56 | 3.79
2019-06-12 |  |  |  | 850 | 180 | 131 | 13.21 | 13.4 | 26.62 | 4
2019-06-13 |  |  |  | 778 | 150 | 98 | 10.76 | 9 | 19.7 | 3.28 |  |  |  |  | 63
2019-06-14 |  |  |  | 1016 | 306 | 188 | 12.67 | 15.9 | 28.54 | 4.29
2019-06-15 |  |  |  | 914 | 174 | 118 | 13.11 | 11.3 | 24.4 | 3.37
Note on N3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: from Kirie profile sampling
Note on O3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: from Kirie profile sampling
Note on P3: Author: special sampling data coming soon